## Slide 1: Cherenkov Light Imaging in Particle and Nuclear Physics Experiments
RICH 2018,
Moscow
Antonis Papanestis
STFC - RAL

## Slide 2: Cherenkov radiation
Lake Placid – LHCb Collaboration Week

## Slide 3: Cherenkov principles
Threshold:
Cherenkov angle:
Number of produced photons:

## Slide 4: Refractive index range
Momentum
1
1.5
~100 GeV/c
~1 GeV/c

## Slide 5: RICH performance
B. N. Ratcliff, NIMA 502 (2003) 211-221
For particles well above threshold
C6F14 (liquid)
C4F10
Aerogel (1.04)
Fused Silica
0.5 mrad
1 mrad
Particle momentum (GeV/c)
Ns p/K separation
3 s
CF4

## Slide 6: 2018 Salon des RICH Detectors
We will not visit all the stands
We will follow the biases, preferences and knowledge of our guide

## Slide 7: The Classic Selection

## Slide 8: Delphi & SLD
Delphi forward and barrel RICH
SLD barrel RICH
Use of liquid and gas radiators
TMAE for photon conversion
Gas detectors for photo-electron detection

## Slide 9: The Workhorses

## Slide 10: HERA-B RICH
Started operation in 1999
Gas radiator (100m3 C4F10)
Two sets of mirrors
  Primary/secondary
Photon detectors: MaPMTs
  Use of lenses
  Hamamatsu R5900-M16/M4

## Slide 11: Babar DIRC
Started operation in 1999
Detection of Internally Reflected Cherenkov light
Purified water expansion volume
11000 PMTs for light detection
p/K separation: 3s at 4 GeV/c
Single photon timing resolution: 1.7 ns

## Slide 12: HADES
Operational since 2000
MWPC detectors with CsI photocathode
  Pad readout
Gaseous C4F10 radiator
Special UV coating for mirrors made of glassy carbon
CaF2 entrance window
Hadron “blind”
  Hadrons below threshold
Part of the 2nd level trigger

## Slide 13: COMPASS RICH-1
Large detector volume with C4F10 radiator
Operational since 2002
Photon detectors: MWPCs with CsI photocathode
Upgrade of central part with MaPMTs and lenses (2006)
Plan to upgrade MWPCs with MPGD-Based Photon Detectors (THGEM)

## Slide 14: The Established Detectors

## Slide 15: LHCb
Two detectors with gas radiators (C4F10 and CF4)
  Originally with a 3rd radiator (aerogel)
“Novel” photon detectors, pixel HPDs
  Aging, issues with vacuum
Two mirror systems
Complex pattern recognition
  100s of tracks
  Global likelihood method
CF4 gas
300 mrad
120 mrad
Flat mirrors
Spherical mirrors
~7 m

## Slide 16: More on LHCb
RICH-1 carbon fibre mirrors
Pion – kaon PID performance
Single event
RICH 1
RICH 2

## Slide 17: NA62
200m3, 17m long, cylindrical vacuum proof tank with Neon radiator
Operational since 2014
Photon detectors: 2000 PMTs (16mm, 8 active)
  With Winstone cone light guides
Mirror alignment ~30 mrad
Single photon resolution: ~140 mrad*
  Calculated by the author
Operation 15-35 GeV/c
Mirror alignment

## Slide 18: ALICE HMPID
MWPC detectors with CsI photocathode
Liquid C6F14 radiator
Proximity focusing
Seven modules
Momentum range 1-6 GeV/c

## Slide 19: The New Models

## Slide 20: Belle II ARICH (Endcap)
Two tile focusing aerogel radiator
Proximity focusing optics
HAPD detectors
  Bi-alkali photocathode
  Work in magnetic field

## Slide 21: Belle II TOP
Particle ID is based on Time Of Propagation
Photons emitted in a synthetic fused silica bar from pions and kaons follow different paths because they are emitted at different angles
Required time resolution per track ~50 ps
Detectors: Hamamatsu MCP-PMTs
Installation completed in May 2016

## Slide 22: CBM
RICH with CO2 radiator
MaPMTs: Hamamatsu H12700
  Share electronics with Panda
Cylindrical photon detection surface
Extensive testing of MaPMTs for radiation damage
Up to 1000 tracks per event
Momentum up to 8 GeV/c
Pion suppression factor ~5000 (with TRD)

## Slide 23: Panda Barrel DIRC
DIRC detector following the design principles of the BABAR DIRC
Very compact Expansion Volume
Focusing optics; NLaK33 ref index 1.786
Photon detectors: MCP-PMTs; use of timing information

## Slide 24: Panda Endcap DIRC
DIRC detector based on disc rather than bars; 2 cm thick fused silica
Cherenkov angle is calculated from MCP position and FEL position
MCP-PMT detectors, ~100 ps timing
  Timing is used to resolve ambiguities
  Can work in the magnetic field

## Slide 25: CLAS12
Aerogel radiator with n=1.05; two different thicknesses
Some photons have to go through the aerogel twice before detected
Extensive studies of the feasibility
Photon detectors: MaPMTs H12700/H8500
Testbeam prototype

## Slide 26: LHCb Upgrade
New optics layout for RICH 1
New photon detectors: Hamamatsu R13743 (H12700) and R13742 (R11265)
New electronics working at 40 MHz readout rate

## Slide 27: VHMPID for ALICE
Extend PID beyond current limit of ~10 GeV to study jets
C4F10 gas radiator
Low material budget mirrors with UV reflectivity
CsI photcathode based gas detector
Expected resolution below 1 mrad

## Slide 28: HADES Upgrade
Replace MWPCs with MaPMTs
  Hamamatsu H12700
  Same as for CBM-RICH
  Also share electronics

## Slide 29: GlueX DIRC
DIRC detector based on the ideas of the Focusing DIRC for SuperB
Reuse of 4 Babar radiator boxes
MaPMT detectors; H12700
Compact EV for reduced background
Focusing unit and photon detectors

## Slide 30: The Concepts

## Slide 31: TORCH
Time of Flight detector using Cherenkov radiation
  Requires good timing
Quartz radiator
MCP-type photon detectors
Reconstruction of Cherenkov angle is used for the time of propagation
Many photons improves on time by

## Slide 32: Future LHCb Upgrade
Provide PID at p-p luminosity of 1034 in the forward region
Incremental improvements in:
  Cherenkov angle resolution
    More photons in the green
  Reduced event complexity with timing
  Enhanced number of photons

## Slide 33: Trends

## Slide 34: Common themes
RICH detectors are varied according to the needs of the experiment
  This is part of their strength
  Different kinds, highly customisable
Radiators:
  C4F10 is performing well
    Low dispersion
    Possibly not available in the future
  Aerogel is here to stay
    Clarity, homogeneity, tuning of ref index all are improving
    Can result is compact detectors

## Slide 35: Photon detectors
Hamamatsu MaPMTS are performing well
  Big improvements in single photon detection with successors to the H8500 flat panel
    H12700 is used by many different experiments
    R11265 is smaller with half the pixel size
MCP-PMTs are performing well with really good time resolution (below 100 ps)
Time dimension is becoming a popular way to improve signal/noise

## Slide 36: End of the tour
I hope you enjoyed the Salon des RICH Detectors (Moscow 2018 edition)
RICH technology has become the detector of choice for PID for most experiments
Many new developments in the field
  Radiators
  Photon detectors
  Mirrors
Incremental improvements can result in big changes